## 1
Date | 2015-08-26
Source | HPUCO-T,3AHP-1060-S-6.2AS-UNL
S/N | 191548-1
Lambda [nm] | 1064
Attenuator | NG4
1064 power on detector [mW] | ~5
Resolution | Low
Profiler head angle [deg] | 90
Notes | Profile of output from the HPUCO collimator from OZ Optics: -Uncorrected distances. -Polarization key is aligned mostly downwards, collimator aligned for beam shape instead of polarization. -V is vertical (+V points downwards), H is horizontal. -No averaging. -Distance measured from the end of the cage system (~10.75 in from front of collimator.
| Calculated distances |  | Beam profile |  |  |  | Beam position on BM901 profiler
Track Dist [mm] | Dist [mm] | Dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um] | V centroid [um] | V centroid std. dev. [um] | W centroid [um] | W centroid std. dev. [um] | V/W | W/V | Notes
50 | 9.2 | 0.92 | 1155.81 | 3.44 | 982.69 | 3.73 | -422.11 | 3.83 | 118.9 | 2.69 | 1.1762 | 0.85022
70 | 29.2 | 2.92 | 1154.53 | 4.25 | 977.81 | 3.42 | -406.34 | 3.34 | 94.54 | 2.88 | 1.1807 | 0.84693
90 | 49.2 | 4.92 | 1152.21 | 3.18 | 973.76 | 3.18 | -399.46 | 3.86 | 77.64 | 2.84 | 1.1833 | 0.84512
110 | 69.2 | 6.92 | 1152.28 | 4.52 | 968.66 | 4.31 | -388.9 | 3.87 | 53.56 | 2.74 | 1.1896 | 0.84065
130 | 89.2 | 8.92 | 1151.89 | 4.1 | 966.8 | 3.34 | -388.98 | 4.09 | 28.65 | 3.16 | 1.1914 | 0.83932
150 | 109.2 | 10.92 | 1151.84 | 3.46 | 963.76 | 3.71 | -384.45 | 4.01 | 22.49 | 2.61 | 1.1952 | 0.83671
170 | 129.2 | 12.92 | 1150.91 | 4 | 959.55 | 2.62 | -372.04 | 3.64 | -11.63 | 2.43 | 1.1994 | 0.83373
190 | 149.2 | 14.92 | 1152.37 | 4.23 | 957.85 | 2.71 | -374.05 | 3.42 | 15.39 | 3.1 | 1.2031 | 0.8312
210 | 169.2 | 16.92 | 1151.6 | 4.03 | 956.27 | 3.08 | -368.67 | 3.47 | 17.56 | 2.71 | 1.2043 | 0.83038
230 | 189.2 | 18.92 | 1151.16 | 3.39 | 957.13 | 2.89 | -357.05 | 3.67 | 18.61 | 3.19 | 1.2027 | 0.83145
250 | 209.2 | 20.92 | 1151.7 | 4.54 | 954.8 | 3.02 | -352.03 | 3.8 | 8.81 | 2.41 | 1.2062 | 0.82904
270 | 229.2 | 22.92 | 1151.78 | 3.34 | 953.84 | 3.14 | -341.09 | 3.16 | -12.7 | 2.99 | 1.2075 | 0.82814
290 | 249.2 | 24.92 | 1150.08 | 3.65 | 956.35 | 3.17 | -327.53 | 3.9 | -39.63 | 2.84 | 1.2026 | 0.83155
310 | 269.2 | 26.92 | 1152.03 | 3.4 | 955.14 | 2.83 | -321.39 | 3.43 | -43.6 | 3.09 | 1.2061 | 0.82909
330 | 289.2 | 28.92 | 1154.51 | 3.91 | 957.01 | 3.61 | -314.94 | 3.53 | -50.75 | 2.62 | 1.2064 | 0.82893
350 | 309.2 | 30.92 | 1157.65 | 4.03 | 958.86 | 3.48 | -303.56 | 3.46 | -48.63 | 2.52 | 1.2073 | 0.82828
370 | 329.2 | 32.92 | 1161.14 | 4.5 | 963.29 | 4.11 | -304.06 | 4.22 | -39.01 | 2.72 | 1.2054 | 0.82961
390 | 349.2 | 34.92 | 1163.8 | 3.13 | 967.39 | 3.28 | -302.02 | 3.32 | -30.2 | 2.88 | 1.203 | 0.83123
410 | 369.2 | 36.92 | 1168.29 | 4.66 | 971.68 | 4.16 | -296.57 | 3.99 | -42.91 | 2.7 | 1.2023 | 0.83171
430 | 389.2 | 38.92 | 1172.01 | 4.28 | 973.31 | 4.17 | -298.57 | 3.8 | -45.55 | 2.84 | 1.2041 | 0.83046
450 | 409.2 | 40.92 | 1173.96 | 4.08 | 978.15 | 3.57 | -278.15 | 3.73 | -85.86 | 3.74 | 1.2002 | 0.83321
470 | 429.2 | 42.92 | 1175.56 | 4.14 | 983.7 | 3.8 | -270.98 | 4 | -101.23 | 3.6 | 1.195 | 0.83679
490 | 449.2 | 44.92 | 1181.29 | 4.46 | 990.1 | 4.06 | -262.56 | 3.77 | 95.54 | 2.53 | 1.1931 | 0.83815
510 | 469.2 | 46.92 | 1187.15 | 3.98 | 994.58 | 3.44 | -262.91 | 3.94 | -89.34 | 3.32 | 1.1936 | 0.83779
530 | 489.2 | 48.92 | 1193.53 | 4.2 | 1002.69 | 3.76 | -250.2 | 3.62 | -78.01 | 2.67 | 1.1903 | 0.8401

## 1-Corrected
Date | 2015-08-26
Source | HPUCO-T,3AHP-1060-S-6.2AS-UNL
S/N | 191548-1
Lambda [nm] | 1064
Attenuator | NG4
1064 power on detector [mW] | ~5
Resolution | Low
Profiler head angle [deg] | 90
Notes | Profile of output from the HPUCO collimator from OZ Optics: -Corrected distances. -Polarization key is aligned mostly downwards, collimator aligned for beam shape instead of polarization. -V is vertical (+V points downwards), H is horizontal. -No averaging. -Distance measured from the end of the cage system (~10.75 in from front of collimator.
| Calculated distances |  | Beam profile |  |  |  | Beam position on BM901 profiler
Track Dist [mm] | Dist [mm] | Dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um] | V centroid [um] | V centroid std. dev. [um] | W centroid [um] | W centroid std. dev. [um] | V/W | W/V | Notes
50 | 59 | 5.9 | 1155.81 | 3.44 | 982.69 | 3.73 | -422.11 | 3.83 | 118.9 | 2.69 | 1.1762 | 0.85022
70 | 79 | 7.9 | 1154.53 | 4.25 | 977.81 | 3.42 | -406.34 | 3.34 | 94.54 | 2.88 | 1.1807 | 0.84693
90 | 99 | 9.9 | 1152.21 | 3.18 | 973.76 | 3.18 | -399.46 | 3.86 | 77.64 | 2.84 | 1.1833 | 0.84512
110 | 119 | 11.9 | 1152.28 | 4.52 | 968.66 | 4.31 | -388.9 | 3.87 | 53.56 | 2.74 | 1.1896 | 0.84065
130 | 139 | 13.9 | 1151.89 | 4.1 | 966.8 | 3.34 | -388.98 | 4.09 | 28.65 | 3.16 | 1.1914 | 0.83932
150 | 159 | 15.9 | 1151.84 | 3.46 | 963.76 | 3.71 | -384.45 | 4.01 | 22.49 | 2.61 | 1.1952 | 0.83671
170 | 179 | 17.9 | 1150.91 | 4 | 959.55 | 2.62 | -372.04 | 3.64 | -11.63 | 2.43 | 1.1994 | 0.83373
190 | 199 | 19.9 | 1152.37 | 4.23 | 957.85 | 2.71 | -374.05 | 3.42 | 15.39 | 3.1 | 1.2031 | 0.8312
210 | 219 | 21.9 | 1151.6 | 4.03 | 956.27 | 3.08 | -368.67 | 3.47 | 17.56 | 2.71 | 1.2043 | 0.83038
230 | 239 | 23.9 | 1151.16 | 3.39 | 957.13 | 2.89 | -357.05 | 3.67 | 18.61 | 3.19 | 1.2027 | 0.83145
250 | 259 | 25.9 | 1151.7 | 4.54 | 954.8 | 3.02 | -352.03 | 3.8 | 8.81 | 2.41 | 1.2062 | 0.82904
270 | 279 | 27.9 | 1151.78 | 3.34 | 953.84 | 3.14 | -341.09 | 3.16 | -12.7 | 2.99 | 1.2075 | 0.82814
290 | 299 | 29.9 | 1150.08 | 3.65 | 956.35 | 3.17 | -327.53 | 3.9 | -39.63 | 2.84 | 1.2026 | 0.83155
310 | 319 | 31.9 | 1152.03 | 3.4 | 955.14 | 2.83 | -321.39 | 3.43 | -43.6 | 3.09 | 1.2061 | 0.82909
330 | 339 | 33.9 | 1154.51 | 3.91 | 957.01 | 3.61 | -314.94 | 3.53 | -50.75 | 2.62 | 1.2064 | 0.82893
350 | 359 | 35.9 | 1157.65 | 4.03 | 958.86 | 3.48 | -303.56 | 3.46 | -48.63 | 2.52 | 1.2073 | 0.82828
370 | 379 | 37.9 | 1161.14 | 4.5 | 963.29 | 4.11 | -304.06 | 4.22 | -39.01 | 2.72 | 1.2054 | 0.82961
390 | 399 | 39.9 | 1163.8 | 3.13 | 967.39 | 3.28 | -302.02 | 3.32 | -30.2 | 2.88 | 1.203 | 0.83123
410 | 419 | 41.9 | 1168.29 | 4.66 | 971.68 | 4.16 | -296.57 | 3.99 | -42.91 | 2.7 | 1.2023 | 0.83171
430 | 439 | 43.9 | 1172.01 | 4.28 | 973.31 | 4.17 | -298.57 | 3.8 | -45.55 | 2.84 | 1.2041 | 0.83046
450 | 459 | 45.9 | 1173.96 | 4.08 | 978.15 | 3.57 | -278.15 | 3.73 | -85.86 | 3.74 | 1.2002 | 0.83321
470 | 479 | 47.9 | 1175.56 | 4.14 | 983.7 | 3.8 | -270.98 | 4 | -101.23 | 3.6 | 1.195 | 0.83679
490 | 499 | 49.9 | 1181.29 | 4.46 | 990.1 | 4.06 | -262.56 | 3.77 | 95.54 | 2.53 | 1.1931 | 0.83815
510 | 519 | 51.9 | 1187.15 | 3.98 | 994.58 | 3.44 | -262.91 | 3.94 | -89.34 | 3.32 | 1.1936 | 0.83779
530 | 539 | 53.9 | 1193.53 | 4.2 | 1002.69 | 3.76 | -250.2 | 3.62 | -78.01 | 2.67 | 1.1903 | 0.8401

## 2
Date | 2015-08-26
Source | HPUCO-T,3AHP-1060-S-6.2AS-UNL
S/N | 191548-1
Lambda [nm] | 1064
Attenuator | NG4
1064 power on detector [mW] | ~4.5
Resolution | High
Profiler head angle [deg] | 90
Notes | Profile of output from the completed sheet trap cage system. -Uncorrected distances. -Polarization key is aligned mostly downwards, collimator aligned for beam shape instead of polarization. -V is vertical (+V points downwards), H is horizontal. -Placed all 4 lenses. -Distance measured from the end of the cage system (~10.75 in from front of collimator). -Profiled V in high-res, then H in high-res. -50 data points, no averaging.
| Calculated distances |  | Beam profile |  |  |  | Beam position on BM901 profiler
Track Dist [mm] | Dist [mm] | Dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um] | V centroid [um] | V centroid std. dev. [um] | W centroid [um] | W centroid std. dev. [um] | V/W | W/V | Notes
320 | 385 | 38.5 | 672.42 | 4.63 | 527.6 | 5.91 |  |  |  |  | 1.2745 | 0.78463
325 | 390 | 39 | 533.1 | 2.86 | 529.35 | 7.17 |  |  |  |  | 1.0071 | 0.99297
330 | 395 | 39.5 | 387.34 | 2.58 | 529.87 | 7.04 |  |  |  |  | 0.73101 | 1.368
331 | 396 | 39.6 | 352.57 | 2.05 | 530.7 | 6.3 |  |  |  |  | 0.66435 | 1.5052
332 | 397 | 39.7 | 323.58 | 2 | 530.24 | 6.83 |  |  |  |  | 0.61025 | 1.6387
333 | 398 | 39.8 | 288.42 | 1.53 | 532.88 | 6.38 |  |  |  |  | 0.54125 | 1.8476
334 | 399 | 39.9 | 259.15 | 1.24 | 531.48 | 6.22 |  |  |  |  | 0.4876 | 2.0509
335 | 400 | 40 | 230.46 | 1.03 | 530.82 | 6.04 |  |  |  |  | 0.43416 | 2.3033
336 | 401 | 40.1 | 200.24 | 0.72 | 531.42 | 5.58 |  |  |  |  | 0.3768 | 2.6539
337 | 402 | 40.2 | 171.85 | 0.78 | 529.97 | 5.57 |  |  |  |  | 0.32426 | 3.0839 | Peak with shoulders in V profile.
338 | 403 | 40.3 | 145.31 | 0.6 | 532.57 | 5.14 |  |  |  |  | 0.27285 | 3.6651 | Double peaked profile in V.
339 | 404 | 40.4 | 121.16 | 0.47 | 534.7 | 6.09 |  |  |  |  | 0.22659 | 4.4132 | More defined double peak in V.
340 | 405 | 40.5 | 96.55 | 0.42 | 532.98 | 4.86 |  |  |  |  | 0.18115 | 5.5202 | Single peak in V, good fit.
341 | 406 | 40.6 | 74.42 | 0.46 | 535.15 | 5.95 |  |  |  |  | 0.13906 | 7.1909
342 | 407 | 40.7 | 57.43 | 0.23 | 533.91 | 4.75 |  |  |  |  | 0.10756 | 9.2967
343 | 408 | 40.8 | 60.03 | 0.32 | 534.33 | 4.99 |  |  |  |  | 0.11235 | 8.901
344 | 409 | 40.9 | 69.8 | 0.32 | 534.62 | 5.75 |  |  |  |  | 0.13056 | 7.6593
345 | 410 | 41 | 85.92 | 0.7 | 539.27 | 4.98 |  |  |  |  | 0.15933 | 6.2764
346 | 411 | 41.1 | 100.65 | 0.75 | 537.46 | 5.81 |  |  |  |  | 0.18727 | 5.3399
347 | 412 | 41.2 | 124.42 | 1.07 | 536.24 | 6.57 |  |  |  |  | 0.23202 | 4.3099
348 | 413 | 41.3 | 150.78 | 1.31 | 536.95 | 5.4 |  |  |  |  | 0.28081 | 3.5611
349 | 414 | 41.4 | 178.07 | 2.08 | 537.06 | 4.93 |  |  |  |  | 0.33156 | 3.016
350 | 415 | 41.5 | 201.45 | 2.47 | 538.02 | 5.27 |  |  |  |  | 0.37443 | 2.6707
351 | 416 | 41.6 | 231.46 | 2.53 | 539.98 | 5.81 |  |  |  |  | 0.42865 | 2.3329
352 | 417 | 41.7 | 259.9 | 2.95 | 537.62 | 5.63 |  |  |  |  | 0.48343 | 2.0686
353 | 418 | 41.8 | 285.76 | 4.06 | 539.28 | 5.62 |  |  |  |  | 0.52989 | 1.8872
354 | 419 | 41.9 | 315.83 | 5.32 | 540.14 | 6.4 |  |  |  |  | 0.58472 | 1.7102
355 | 420 | 42 | 345.87 | 6.41 | 541.27 | 4.03 |  |  |  |  | 0.639 | 1.565
360 | 425 | 42.5 | 484.83 | 5.52 | 546.13 | 5.95 |  |  |  |  | 0.88776 | 1.1264
365 | 430 | 43 | 636.63 | 8.15 | 545.69 | 5.32 |  |  |  |  | 1.1667 | 0.85715

## 2-Corrected
Date | 2015-08-26
Source | HPUCO-T,3AHP-1060-S-6.2AS-UNL
S/N | 191548-1
Lambda [nm] | 1064
Attenuator | NG4
1064 power on detector [mW] | ~4.5
Resolution | High
Profiler head angle [deg] | 90
Notes | Profile of output from the completed sheet trap cage system. -Corrected distances. -Polarization key is aligned mostly downwards, collimator aligned for beam shape instead of polarization. -V is vertical (+V points downwards), H is horizontal. -Placed all 4 lenses. -Distance measured from the end of the cage system (~10.75 in from front of collimator). -Profiled V in high-res, then H in high-res. -50 data points, no averaging.
| Calculated distances |  | Beam profile |  |  |  | Beam position on BM901 profiler
Track Dist [mm] | Dist [mm] | Dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um] | V centroid [um] | V centroid std. dev. [um] | W centroid [um] | W centroid std. dev. [um] | V/W | W/V | Notes
320 | 335.2 | 33.52 | 672.42 | 4.63 | 527.6 | 5.91 |  |  |  |  | 1.2745 | 0.78463
325 | 340.2 | 34.02 | 533.1 | 2.86 | 529.35 | 7.17 |  |  |  |  | 1.0071 | 0.99297
330 | 345.2 | 34.52 | 387.34 | 2.58 | 529.87 | 7.04 |  |  |  |  | 0.73101 | 1.368
331 | 346.2 | 34.62 | 352.57 | 2.05 | 530.7 | 6.3 |  |  |  |  | 0.66435 | 1.5052
332 | 347.2 | 34.72 | 323.58 | 2 | 530.24 | 6.83 |  |  |  |  | 0.61025 | 1.6387
333 | 348.2 | 34.82 | 288.42 | 1.53 | 532.88 | 6.38 |  |  |  |  | 0.54125 | 1.8476
334 | 349.2 | 34.92 | 259.15 | 1.24 | 531.48 | 6.22 |  |  |  |  | 0.4876 | 2.0509
335 | 350.2 | 35.02 | 230.46 | 1.03 | 530.82 | 6.04 |  |  |  |  | 0.43416 | 2.3033
336 | 351.2 | 35.12 | 200.24 | 0.72 | 531.42 | 5.58 |  |  |  |  | 0.3768 | 2.6539
337 | 352.2 | 35.22 | 171.85 | 0.78 | 529.97 | 5.57 |  |  |  |  | 0.32426 | 3.0839 | Peak with shoulders in V profile.
338 | 353.2 | 35.32 | 145.31 | 0.6 | 532.57 | 5.14 |  |  |  |  | 0.27285 | 3.6651 | Double peaked profile in V.
339 | 354.2 | 35.42 | 121.16 | 0.47 | 534.7 | 6.09 |  |  |  |  | 0.22659 | 4.4132 | More defined double peak in V.
340 | 355.2 | 35.52 | 96.55 | 0.42 | 532.98 | 4.86 |  |  |  |  | 0.18115 | 5.5202 | Single peak in V, good fit.
341 | 356.2 | 35.62 | 74.42 | 0.46 | 535.15 | 5.95 |  |  |  |  | 0.13906 | 7.1909
342 | 357.2 | 35.72 | 57.43 | 0.23 | 533.91 | 4.75 |  |  |  |  | 0.10756 | 9.2967
343 | 358.2 | 35.82 | 60.03 | 0.32 | 534.33 | 4.99 |  |  |  |  | 0.11235 | 8.901
344 | 359.2 | 35.92 | 69.8 | 0.32 | 534.62 | 5.75 |  |  |  |  | 0.13056 | 7.6593
345 | 360.2 | 36.02 | 85.92 | 0.7 | 539.27 | 4.98 |  |  |  |  | 0.15933 | 6.2764
346 | 361.2 | 36.12 | 100.65 | 0.75 | 537.46 | 5.81 |  |  |  |  | 0.18727 | 5.3399
347 | 362.2 | 36.22 | 124.42 | 1.07 | 536.24 | 6.57 |  |  |  |  | 0.23202 | 4.3099
348 | 363.2 | 36.32 | 150.78 | 1.31 | 536.95 | 5.4 |  |  |  |  | 0.28081 | 3.5611
349 | 364.2 | 36.42 | 178.07 | 2.08 | 537.06 | 4.93 |  |  |  |  | 0.33156 | 3.016
350 | 365.2 | 36.52 | 201.45 | 2.47 | 538.02 | 5.27 |  |  |  |  | 0.37443 | 2.6707
351 | 366.2 | 36.62 | 231.46 | 2.53 | 539.98 | 5.81 |  |  |  |  | 0.42865 | 2.3329
352 | 367.2 | 36.72 | 259.9 | 2.95 | 537.62 | 5.63 |  |  |  |  | 0.48343 | 2.0686
353 | 368.2 | 36.82 | 285.76 | 4.06 | 539.28 | 5.62 |  |  |  |  | 0.52989 | 1.8872
354 | 369.2 | 36.92 | 315.83 | 5.32 | 540.14 | 6.4 |  |  |  |  | 0.58472 | 1.7102
355 | 370.2 | 37.02 | 345.87 | 6.41 | 541.27 | 4.03 |  |  |  |  | 0.639 | 1.565
360 | 375.2 | 37.52 | 484.83 | 5.52 | 546.13 | 5.95 |  |  |  |  | 0.88776 | 1.1264
365 | 380.2 | 38.02 | 636.63 | 8.15 | 545.69 | 5.32 |  |  |  |  | 1.1667 | 0.85715

## Sheet1
Track dist [mm] | Calculated dist [mm] | Calculated dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um]
320 | 335.2 | 33.52 | 672.42 | 4.63 | 527.6 | 5.91
325 | 340.2 | 34.02 | 533.1 | 2.86 | 529.35 | 7.17
330 | 345.2 | 34.52 | 387.34 | 2.58 | 529.87 | 7.04
331 | 346.2 | 34.62 | 352.57 | 2.05 | 530.7 | 6.3
332 | 347.2 | 34.72 | 323.58 | 2 | 530.24 | 6.83
333 | 348.2 | 34.82 | 288.42 | 1.53 | 532.88 | 6.38
334 | 349.2 | 34.92 | 259.15 | 1.24 | 531.48 | 6.22
335 | 350.2 | 35.02 | 230.46 | 1.03 | 530.82 | 6.04
336 | 351.2 | 35.12 | 200.24 | 0.72 | 531.42 | 5.58
337 | 352.2 | 35.22 | 171.85 | 0.78 | 529.97 | 5.57
338 | 353.2 | 35.32 | 145.31 | 0.6 | 532.57 | 5.14
339 | 354.2 | 35.42 | 121.16 | 0.47 | 534.7 | 6.09
340 | 355.2 | 35.52 | 96.55 | 0.42 | 532.98 | 4.86
341 | 356.2 | 35.62 | 74.42 | 0.46 | 535.15 | 5.95
342 | 357.2 | 35.72 | 57.43 | 0.23 | 533.91 | 4.75
343 | 358.2 | 35.82 | 60.03 | 0.32 | 534.33 | 4.99
344 | 359.2 | 35.92 | 69.8 | 0.32 | 534.62 | 5.75
345 | 360.2 | 36.02 | 85.92 | 0.7 | 539.27 | 4.98
346 | 361.2 | 36.12 | 100.65 | 0.75 | 537.46 | 5.81
347 | 362.2 | 36.22 | 124.42 | 1.07 | 536.24 | 6.57
348 | 363.2 | 36.32 | 150.78 | 1.31 | 536.95 | 5.4
349 | 364.2 | 36.42 | 178.07 | 2.08 | 537.06 | 4.93
350 | 365.2 | 36.52 | 201.45 | 2.47 | 538.02 | 5.27
351 | 366.2 | 36.62 | 231.46 | 2.53 | 539.98 | 5.81
352 | 367.2 | 36.72 | 259.9 | 2.95 | 537.62 | 5.63
353 | 368.2 | 36.82 | 285.76 | 4.06 | 539.28 | 5.62
354 | 369.2 | 36.92 | 315.83 | 5.32 | 540.14 | 6.4
355 | 370.2 | 37.02 | 345.87 | 6.41 | 541.27 | 4.03
360 | 375.2 | 37.52 | 484.83 | 5.52 | 546.13 | 5.95
365 | 380.2 | 38.02 | 636.63 | 8.15 | 545.69 | 5.32

## 3
Date | 2015-08-26
Source | HPUCO-T,3AHP-1060-S-6.2AS-UNL
S/N | 191548-1
Lambda [nm] | 1064
Attenuator | NG4
1064 power on detector [mW] | ~4.5
Resolution | High
Profiler head angle [deg] | 90
Notes | Profile of output from the completed sheet trap cage system (flipped f = 500 mm cyl lens around). -Distances are correct. -Polarization key is aligned mostly downwards, collimator aligned for beam shape instead of polarization. -V is vertical (+V points downwards), H is horizontal. -Placed all 4 lenses. -Distance measured from the end of the cage system (~10.75 in from front of collimator). -Profiled V in high-res, then W in high-res. -50 data points, no averaging.
| Calculated distances |  | Beam profile |  |  |  | Beam position on BM901 profiler
Track Dist [mm] | Dist [mm] | Dist [cm] | V width e^-2 [um] | V std. dev. [um] | W width e^-2 [um] | W std. dev. [um] | V centroid [um] | V centroid std. dev. [um] | W centroid [um] | W centroid std. dev. [um] | V/W | W/V | Notes
300 | 315.2 | 31.52 | 1320.18 | 12.49 | 488.39 | 5.14
305 | 320.2 | 32.02 | 1172.91 | 10.59 | 486.58 | 3.89 |  |  |  |  | 2.4105 | 0.41485
310 | 325.2 | 32.52 | 1028.24 | 6.85 | 485.65 | 4.33 |  |  |  |  | 2.1172 | 0.47231
315 | 330.2 | 33.02 | 885.77 | 6.52 | 486.02 | 3.56 |  |  |  |  | 1.8225 | 0.5487
320 | 335.2 | 33.52 | 741.73 | 4.57 | 486.11 | 4.56 |  |  |  |  | 1.5258 | 0.65537
325 | 340.2 | 34.02 | 604.56 | 2.92 | 485.26 | 5.5 |  |  |  |  | 1.2458 | 0.80267
330 | 345.2 | 34.52 | 471.32 | 3.79 | 489.49 | 4.54 |  |  |  |  | 0.96288 | 1.0386
335 | 350.2 | 35.02 | 318.07 | 1.59 | 492.02 | 3.89 |  |  |  |  | 0.64646 | 1.5469
336 | 351.2 | 35.12 | 289.99 | 0.98 | 492.58 | 5.35 |  |  |  |  | 0.58872 | 1.6986
337 | 352.2 | 35.22 | 259.49 | 1.22 | 497.36 | 5.21 |  |  |  |  | 0.52173 | 1.9167
338 | 353.2 | 35.32 | 227.38 | 0.96 | 493.89 | 3.97 |  |  |  |  | 0.46039 | 2.1721
339 | 354.2 | 35.42 | 197.99 | 0.79 | 496.15 | 5.11 |  |  |  |  | 0.39905 | 2.5059
340 | 355.2 | 35.52 | 169.68 | 0.58 | 491.82 | 3.84 |  |  |  |  | 0.345 | 2.8985
341 | 356.2 | 35.62 | 145.58 | 0.72 | 497.2 | 4.2 |  |  |  |  | 0.2928 | 3.4153
342 | 357.2 | 35.72 | 120.92 | 0.39 | 495.37 | 4.66 |  |  |  |  | 0.2441 | 4.0967 | Double peak in V.
343 | 358.2 | 35.82 | 95.52 | 0.5 | 499.24 | 3.34 |  |  |  |  | 0.19133 | 5.2265 | Very nice V profile fit.
344 | 359.2 | 35.92 | 72.46 | 0.48 | 500.14 | 3.47 |  |  |  |  | 0.14488 | 6.9023
345 | 360.2 | 36.02 | 58.49 | 0.28 | 503.4 | 5.44 |  |  |  |  | 0.11619 | 8.6066
346 | 361.2 | 36.12 | 61.01 | 0.29 | 501.97 | 4.8 |  |  |  |  | 0.12154 | 8.2277
347 | 362.2 | 36.22 | 70.41 | 0.37 | 503.33 | 5.35 |  |  |  |  | 0.13989 | 7.1486
348 | 363.2 | 36.32 | 84.18 | 0.44 | 504.29 | 4.63 |  |  |  |  | 0.16693 | 5.9906
349 | 364.2 | 36.42 | 101.47 | 0.74 | 501.26 | 5.16 |  |  |  |  | 0.20243 | 4.94
350 | 365.2 | 36.52 | 122.45 | 0.81 | 505.79 | 4 |  |  |  |  | 0.2421 | 4.1306
351 | 366.2 | 36.62 | 148.38 | 1.33 | 503.04 | 5.79 |  |  |  |  | 0.29497 | 3.3902
352 | 367.2 | 36.72 | 172.59 | 1.58 | 505.96 | 6.08 |  |  |  |  | 0.34111 | 2.9316
353 | 368.2 | 36.82 | 201.75 | 2.14 | 506.58 | 5.66 |  |  |  |  | 0.39826 | 2.5109
354 | 369.2 | 36.92 | 227.16 | 2.49 | 508.41 | 5.02 |  |  |  |  | 0.4468 | 2.2381
355 | 370.2 | 37.02 | 254.75 | 2.93 | 507.59 | 5.2 |  |  |  |  | 0.50188 | 1.9925
356 | 371.2 | 37.12 | 279.94 | 3.69 | 506.7 | 5.61 |  |  |  |  | 0.55248 | 1.81
357 | 372.2 | 37.22 | 308.54 | 3.69 | 505.4 | 5.95 |  |  |  |  | 0.61049 | 1.638
358 | 373.2 | 37.32 | 340.37 | 3.73 | 511.45 | 7.99 |  |  |  |  | 0.6655 | 1.5026
359 | 374.2 | 37.42 | 371.86 | 3.9 | 512.75 | 5.21 |  |  |  |  | 0.72523 | 1.3789
360 | 375.2 | 37.52 | 392.4 | 4.77 | 511.31 | 4.84 |  |  |  |  | 0.76744 | 1.303
365 | 380.2 | 38.02 | 538.25 | 5.03 | 517.38 | 6.02 |  |  |  |  | 1.0403 | 0.96123